	[image: image1.jpg]



	record of FAMILIARIZATION OF students 
with fire protection 
pursuant to sec. 4, e) of Act of the National Council of SR 
No 314/2001 Coll. as amended 
	Page 1/2

	Content of familiarization:                                                                                Time of familiarization: 15 min. 
1. Familiarization with general fire safety requirements for buildings and premises of TUKE. Explanation of fire hazards characteristic for the given workplace, mainly fire protection measures in the workplace, fire protection regulations of the workplace, providing fire protection for technological processes, storage of flammable substances and work discipline in relation to fire prevention. 
2. Familiarization with the location of fire-fighting equipment, fire extinguishers, fasteners and other such means of fire prevention in the workplace and steps to use them properly as well as with the locations of the main power switches, water and gas shut-offs.
3. The method of declaring fire alarm in workplaces and the obligations of students and employees in case of fire according to the fire emergency guidelines and fire evacuation plan – by calling out „FIRE“.
4. Familiarization with fire protection and prevention measures during non-working hours – fire emergency must be reported to the entrance reception office.
5. Fire safety regulations and TUKE fire identification card are available at www.tuke.sk.

	Faculty:
	     
	   Year, class/group:
	     
	

	basic principles of behaviour  in a fire emergency 
Smoke or smell of smoke is usually the first indication of fire. If you smell this smoke, follow these steps: 
· Do not act rashly, it could cost you life (panic is often more dangerous than the fire itself).
· Find the safest escape route (consider another escape route if there is still one).
· Do not waste time collecting personal belongings: take only the things that can help you escape – a fire extinguisher, a piece of coarse fabric, an axe, a rope... (every second matters when saving your life so you need to run without much „luggage“).
· Inform other people in the building about the fire by calling out „FIRE“, then proceed according to the Fire and evacuation plans and Fire emergency guidelines displayed in the corridors of the buildings.
· DO NOT OPEN DOORS BEFORE CHECKING THEM USING YOUR HAND TO FEEL THE TOP OF THE DOOR!!!
If the door is hot it means that fire is on the other side of the door.
· By opening the door more oxygen will be supplied to the fire which could cause flames from the fire to rush into your room.
· Close all doors behind you!!!
· NEVER USE ELEVATORS IN THE EVENT OF A FIRE IN THE BUILDING!!!

· Do not return to the building after leaving it. 
· Continuously observe the situation around you!!!
· In low visibility touch the wall with your hand – support is essential to faster and more secure moving forward.
· If possible, help others or those who are injured.



	[image: image2.jpg]



	record of FAMILIARIZATION OF students 
with fire protection 
pursuant to sec. 4, e) of Act of the National Council of SR 
No 314/2001 Coll. as amended
	Page 2/2

	After leaving the building in the event of a fire go to the pre-designated assembly area in front of the building (familiarization with fire prevention and drills). It is necessary to find out who left the building, therefore do not leave the designated emergency area without permission. 
Note:
· Those who must go to receive medical treatment and if the situation allows, must report it to a person designated beforehand.
· If a fire is extinguished by water  or electrically conductive substance, then the building must be disconnected from electricity – DO NOT FORGET!!!

· In case it is not possible to leave the building via escape routes:

· remain calm, 
· if smoke has filled the room stay low to the floor, 
· draw attention from the window by waving a towel, a part of clothes, etc.,
· When it is dark outside, switch light alternately on and off. 

	


F-P/TUKE/BOZPaPO-02/24-01

